## Sheet1
RuleID | Network | Station | Channel | Location | StartDate | EndDate | Message | Extended reason for exception | Solution | Solution implemented?
105 | NV |  |  |  | 2009-01-01T00:00:00 | 2500-12-31T23:59:59 | Network endDate Fri Dec 31 15:59:59 PST 2500 cannot be before station endDate Tue Dec 31 15:59:59 PST 2599 | The network (NV) end date: 2500-12-31T23:59:59.000000Z is before the end date of all the stations: 2599-12-31T23:59:59.000000Z | Set indefinite "end_date"s to None | N
310 | NV | CQS64 | ACE |  | 2016-07-01T00:00:00 | 2599-12-31T23:59:59 | Sample rate cannot be 0 or null. | Sample rate is currently set to zero - this is a "HEALTH" channel type | Determine the sample rate of this channel and add to inventory. | N
312 | NV | CQS64 | ACE |  | 2016-07-01T00:00:00 | 2599-12-31T23:59:59 | invalid value UNKNOWN for calibration unit | Calibration unit is set to "UNKNOWN", probably because of the type of channel this is. What should we use here? None? | Set to None | N
408 | NV | CQS64 | ACE |  | 2016-07-01T00:00:00 | 2599-12-31T23:59:59 | Decimation cannot be null | "Decimation" is 0 because "sample rate" is 0? | Determine the sample rate of this channel and add to inventory. | N
310 | NV | CQS64 | LOG |  | 2016-07-01T00:00:00 | 2599-12-31T23:59:59 | Sample rate cannot be 0 or null. | Sample rate is currently set to zero - this is a "HEALTH" channel type | Determine the sample rate of this channel and add to inventory. | N
312 | NV | CQS64 | LOG |  | 2016-07-01T00:00:00 | 2599-12-31T23:59:59 | invalid value UNKNOWN for calibration unit | Calibration unit is set to "UNKNOWN", probably because of the type of channel this is. What should we use here? None? | Set to None | N
408 | NV | CQS64 | LOG |  | 2016-07-01T00:00:00 | 2599-12-31T23:59:59 | Decimation cannot be null | "Decimation" is 0 because "sample rate" is 0? | Determine the sample rate of this channel and add to inventory. | N
310 | NV | CQS64 | OCF |  | 2016-07-01T00:00:00 | 2599-12-31T23:59:59 | Sample rate cannot be 0 or null. | Sample rate is currently set to zero - this is a "HEALTH" channel type | Determine the sample rate of this channel and add to inventory. | N
312 | NV | CQS64 | OCF |  | 2016-07-01T00:00:00 | 2599-12-31T23:59:59 | invalid value UNKNOWN for calibration unit | Calibration unit is set to "UNKNOWN", probably because of the type of channel this is. What should we use here? None? | Set to None | N
408 | NV | CQS64 | OCF |  | 2016-07-01T00:00:00 | 2599-12-31T23:59:59 | Decimation cannot be null | "Decimation" is 0 because "sample rate" is 0? | Determine the sample rate of this channel and add to inventory. | N
402 | NV | CQS64 | LA1 | B1 | 2016-07-01T00:00:00 | 2599-12-31T23:59:59 | stage [ null units for stage 2] | Under response.response_stages, response stage 2 goes fro units of UNKNOWN to UNKNOWN. This is a GEOPHYSICAL channel (tiltmeter), and response stage two (None to None) has a gain factor of 10. |  | N
402 | NV | CQS64 | LA2 | B1 | 2016-07-01T00:00:00 | 2599-12-31T23:59:59 | stage [ null units for stage 2] | Under response.response_stages, response stage 2 goes fro units of UNKNOWN to UNKNOWN. This is a GEOPHYSICAL channel (tiltmeter), and response stage two (None to None) has a gain factor of 10. |  | N
312 | NV | CQS64 | LCE | B1 | 2016-07-01T00:00:00 | 2599-12-31T23:59:59 | invalid value COUNTS for calibration unit | LCE is an Environmental Processor for in-situ water sampling. Calibration_units are set to COUNTS, obviously not a valid option. |  | N
312 | NV | CQS64 | LCL | B1 | 2016-07-01T00:00:00 | 2599-12-31T23:59:59 | invalid value COUNTS for calibration unit | Calibration_units are set to COUNTS, obviously not a valid option. | Determine a suitable replacement. Although, the information throwing the exceptions in the validator is currently in IRIS - has the schema changed over time? | N
312 | NV | CQS64 | LCQ | B1 | 2016-07-01T00:00:00 | 2599-12-31T23:59:59 | invalid value COUNTS for calibration unit | Calibration_units are set to COUNTS, obviously not a valid option. |  | N
312 | NV | CQS64 | VCO | B1 | 2016-07-01T00:00:00 | 2599-12-31T23:59:59 | invalid value COUNTS for calibration unit | Calibration_units are set to COUNTS, obviously not a valid option. |  | N
312 | NV | CQS64 | VEA | B1 | 2016-07-01T00:00:00 | 2599-12-31T23:59:59 | invalid value COUNTS for calibration unit | Calibration_units are set to COUNTS, obviously not a valid option. |  | N
312 | NV | CQS64 | VEC | B1 | 2016-07-01T00:00:00 | 2599-12-31T23:59:59 | invalid value COUNTS for calibration unit | Calibration_units are set to COUNTS, obviously not a valid option. |  | N
312 | NV | CQS64 | VEP | B1 | 2016-07-01T00:00:00 | 2599-12-31T23:59:59 | invalid value COUNTS for calibration unit | Calibration_units are set to COUNTS, obviously not a valid option. |  | N
312 | NV | CQS64 | VFP | B1 | 2016-07-01T00:00:00 | 2599-12-31T23:59:59 | invalid value COUNTS for calibration unit | Calibration_units are set to COUNTS, obviously not a valid option. |  | N
312 | NV | CQS64 | VKI | B1 | 2016-07-01T00:00:00 | 2599-12-31T23:59:59 | invalid value COUNTS for calibration unit | Calibration_units are set to COUNTS, obviously not a valid option. |  | N
312 | NV | CQS64 | VMU | B1 | 2016-07-01T00:00:00 | 2599-12-31T23:59:59 | invalid value COUNTS for calibration unit | Calibration_units are set to COUNTS, obviously not a valid option. |  | N
312 | NV | CQS64 | VMV | B1 | 2016-07-01T00:00:00 | 2599-12-31T23:59:59 | invalid value COUNTS for calibration unit | Calibration_units are set to COUNTS, obviously not a valid option. |  | N
312 | NV | CQS64 | VMW | B1 | 2016-07-01T00:00:00 | 2599-12-31T23:59:59 | invalid value COUNTS for calibration unit | Calibration_units are set to COUNTS, obviously not a valid option. |  | N
402 | NV | CQS64 | LA1 | B2 | 2016-07-01T00:00:00 | 2599-12-31T23:59:59 | stage [ null units for stage 2] | Under response.response_stages, response stage 2 goes fro units of UNKNOWN to UNKNOWN. This is a GEOPHYSICAL channel (tiltmeter), and response stage two (None to None) has a gain factor of 10. |  | N
402 | NV | CQS64 | LA2 | B2 | 2016-07-01T00:00:00 | 2599-12-31T23:59:59 | stage [ null units for stage 2] | Under response.response_stages, response stage 2 goes fro units of UNKNOWN to UNKNOWN. This is a GEOPHYSICAL channel (tiltmeter), and response stage two (None to None) has a gain factor of 10. |  | N
312 | NV | CQS64 | LCE | B2 | 2016-07-01T00:00:00 | 2599-12-31T23:59:59 | invalid value COUNTS for calibration unit | Calibration_units are set to COUNTS, obviously not a valid option. |  | N
312 | NV | CQS64 | LCO | B2 | 2016-07-01T00:00:00 | 2599-12-31T23:59:59 | invalid value COUNTS for calibration unit | Calibration_units are set to COUNTS, obviously not a valid option. |  | N
312 | NV | CQS64 | LDM | B2 | 2016-07-01T00:00:00 | 2599-12-31T23:59:59 | invalid value COUNTS for calibration unit | Calibration_units are set to COUNTS, obviously not a valid option. |  | N
312 | NV | CQS64 | LEP | B2 | 2016-07-01T00:00:00 | 2599-12-31T23:59:59 | invalid value COUNTS for calibration unit | Calibration_units are set to COUNTS, obviously not a valid option. |  | N
312 | NV | CQS64 | LIM | B2 | 2016-07-01T00:00:00 | 2599-12-31T23:59:59 | invalid value COUNTS for calibration unit | Calibration_units are set to COUNTS, obviously not a valid option. |  | N
312 | NV | CQS64 | LKM | B2 | 2016-07-01T00:00:00 | 2599-12-31T23:59:59 | invalid value COUNTS for calibration unit | Calibration_units are set to COUNTS, obviously not a valid option. |  | N
309 | NV | KEMF | EHE |  | 2010-09-30T06:16:00 | 2013-03-01T19:59:59 | Expected a value between 0.0 and 90.0 but received 310.0 | Problem with the azimuth. | Seems totally fine to have an azimuth > 090. Problem with the pre-release? | N
309 | NV | KEMF | EHN |  | 2010-09-30T06:16:00 | 2013-03-01T19:59:59 | Expected a value between 0.0 and 90.0 but received 220.0 | Problem with the azimuth. |  | N
315 | NV | KEMF | EHN |  | 2010-09-30T06:16:00 | 2013-03-01T19:59:59 | Invalid channel orientation: azimuth: 220.0 for EHN | Problem with the azimuth. |  | N
309 | NV | KEMF | EHZ |  | 2010-09-30T06:16:00 | 2013-03-01T19:59:59 | Expected a value between 0.0 and 90.0 but received 220.0 | Problem with the azimuth. |  | N
315 | NV | KEMF | EHZ |  | 2010-09-30T06:16:00 | 2013-03-01T19:59:59 | Invalid channel orientation: azimuth: 220.0 for EHZ | Problem with the azimuth. |  | N
309 | NV | KEMF | LHE |  | 2010-09-30T06:16:00 | 2599-12-31T23:59:59 | Expected a value between 0.0 and 90.0 but received 310.0 | Problem with the azimuth. The next deployment, starting at 2013-03-01T20:00:00 has an azimuth of 90. Perhaps the sensor was re-oriented? |  | N
309 | NV | KEMF | LHN |  | 2010-09-30T06:16:00 | 2599-12-31T23:59:59 | Expected a value between 0.0 and 90.0 but received 220.0 | Problem with the azimuth. |  | N
315 | NV | KEMF | LHN |  | 2010-09-30T06:16:00 | 2599-12-31T23:59:59 | Invalid channel orientation: azimuth: 220.0 for LHN | Problem with the azimuth. The next deployment, starting at 2013-03-01T20:00:00 has an azimuth of 0. |  | N
309 | NV | KEMF | LHZ |  | 2010-09-30T06:16:00 | 2599-12-31T23:59:59 | Expected a value between 0.0 and 90.0 but received 220.0 | Problem with the azimuth. |  | N
315 | NV | KEMF | LHZ |  | 2010-09-30T06:16:00 | 2599-12-31T23:59:59 | Invalid channel orientation: azimuth: 220.0 for LHZ | Problem with the azimuth. The next deployment, starting at 2013-03-01T20:00:00 has an azimuth of 0. |  | N
309 | NV | NC27 | HHE |  | 2009-09-14T00:00:00 | 2010-10-05T23:59:59 | Expected a value between 0.0 and 90.0 but received 94.2 | Problem with the azimuth. | Seems totally fine to have an azimuth > 090. Problem with the pre-release? | N
309 | NV | NC27 | HHN |  | 2010-10-06T17:43:00 | 2013-03-01T19:59:59 | Expected a value between 0.0 and 90.0 but received 359.8 | Problem with the azimuth. |  | N
309 | NV | NC27 | HHN |  | 2013-03-01T20:00:00 | 2599-12-31T23:59:59 | Expected a value between 0.0 and 90.0 but received 359.8 | Problem with the azimuth. |  | N
309 | NV | NC27 | HHZ |  | 2010-10-06T17:43:00 | 2013-03-01T19:59:59 | Expected a value between 0.0 and 90.0 but received 359.8 | Problem with the azimuth. |  | N
309 | NV | NC27 | HHZ |  | 2013-03-01T20:00:00 | 2599-12-31T23:59:59 | Expected a value between 0.0 and 90.0 but received 359.8 | Problem with the azimuth. |  | N
309 | NV | NC27 | HNE |  | 2009-09-14T00:00:00 | 2010-10-05T23:59:59 | Expected a value between 0.0 and 90.0 but received 94.2 | Problem with the azimuth. |  | N
309 | NV | NC27 | HNN |  | 2010-10-06T17:43:00 | 2013-03-01T19:59:59 | Expected a value between 0.0 and 90.0 but received 359.8 | Problem with the azimuth. |  | N
309 | NV | NC27 | HNN |  | 2013-03-01T20:00:00 | 2599-12-31T23:59:59 | Expected a value between 0.0 and 90.0 but received 359.8 | Problem with the azimuth. |  | N
309 | NV | NC27 | HNZ |  | 2010-10-06T17:43:00 | 2013-03-01T19:59:59 | Expected a value between 0.0 and 90.0 but received 359.8 | Problem with the azimuth. |  | N
309 | NV | NC27 | HNZ |  | 2013-03-01T20:00:00 | 2599-12-31T23:59:59 | Expected a value between 0.0 and 90.0 but received 359.8 | Problem with the azimuth. |  | N
309 | NV | NC27 | LHN |  | 2010-10-06T17:43:00 | 2599-12-31T23:59:59 | Expected a value between 0.0 and 90.0 but received 359.8 | Problem with the azimuth. |  | N
309 | NV | NC27 | LHZ |  | 2010-10-06T17:43:00 | 2599-12-31T23:59:59 | Expected a value between 0.0 and 90.0 but received 359.8 | Problem with the azimuth. |  | N
309 | NV | NC27 | LMN |  | 2010-10-06T17:43:00 | 2599-12-31T23:59:59 | Expected a value between 0.0 and 90.0 but received 359.8 | Problem with the azimuth. |  | N
309 | NV | NC27 | LMZ |  | 2010-10-06T17:43:00 | 2599-12-31T23:59:59 | Expected a value between 0.0 and 90.0 but received 359.8 | Problem with the azimuth. |  | N
309 | NV | NC27 | LNN |  | 2010-10-06T17:43:00 | 2599-12-31T23:59:59 | Expected a value between 0.0 and 90.0 but received 359.8 | Problem with the azimuth. |  | N
309 | NV | NC27 | LNZ |  | 2010-10-06T17:43:00 | 2599-12-31T23:59:59 | Expected a value between 0.0 and 90.0 but received 359.8 | Problem with the azimuth. |  | N
309 | NV | NC27 | MHE |  | 2009-09-14T00:00:00 | 2010-10-05T23:59:59 | Expected a value between 0.0 and 90.0 but received 94.2 | Problem with the azimuth. |  | N
309 | NV | NC27 | MHN |  | 2013-03-01T20:00:00 | 2599-12-31T23:59:59 | Expected a value between 0.0 and 90.0 but received 359.8 | Problem with the azimuth. |  | N
309 | NV | NC27 | MHZ |  | 2013-03-01T20:00:00 | 2599-12-31T23:59:59 | Expected a value between 0.0 and 90.0 but received 359.8 | Problem with the azimuth. |  | N
309 | NV | NC27 | MNE |  | 2009-09-14T00:00:00 | 2010-10-05T23:59:59 | Expected a value between 0.0 and 90.0 but received 94.2 | Problem with the azimuth. |  | N
309 | NV | NC27 | MNN |  | 2013-03-01T20:00:00 | 2599-12-31T23:59:59 | Expected a value between 0.0 and 90.0 but received 359.8 | Problem with the azimuth. |  | N
309 | NV | NC27 | MNZ |  | 2013-03-01T20:00:00 | 2599-12-31T23:59:59 | Expected a value between 0.0 and 90.0 but received 359.8 | Problem with the azimuth. |  | N
309 | NV | NC89 | HHE |  | 2009-09-17T00:00:00 | 2010-09-10T22:50:15 | Expected a value between 0.0 and 90.0 but received 102.0 | Problem with the azimuth. |  | N
315 | NV | NC89 | HHN |  | 2009-09-17T00:00:00 | 2010-09-10T22:50:15 | Invalid channel orientation: azimuth: 12.0 for HHN | Problem with the azimuth. |  | N
315 | NV | NC89 | HHZ |  | 2009-09-17T00:00:00 | 2010-09-10T22:50:15 | Invalid channel orientation: azimuth: 12.0 for HHZ | Problem with the azimuth. |  | N
309 | NV | NC89 | HNE |  | 2009-09-17T00:00:00 | 2010-09-10T22:50:15 | Expected a value between 0.0 and 90.0 but received 102.0 | Problem with the azimuth. |  | N
315 | NV | NC89 | HNN |  | 2009-09-17T00:00:00 | 2010-09-10T22:50:15 | Invalid channel orientation: azimuth: 12.0 for HNN | Problem with the azimuth. Has to be set to 0? | Again, pre-release problem? | N
315 | NV | NC89 | HNZ |  | 2009-09-17T00:00:00 | 2010-09-10T22:50:15 | Invalid channel orientation: azimuth: 12.0 for HNZ | Problem with the azimuth. |  | N
309 | NV | NC89 | MHE |  | 2009-09-17T00:00:00 | 2010-09-10T22:50:15 | Expected a value between 0.0 and 90.0 but received 102.0 | Problem with the azimuth. |  | N
315 | NV | NC89 | MHN |  | 2009-09-17T00:00:00 | 2010-09-10T22:50:15 | Invalid channel orientation: azimuth: 12.0 for MHN | Problem with the azimuth. |  | N
315 | NV | NC89 | MHZ |  | 2009-09-17T00:00:00 | 2010-09-10T22:50:15 | Invalid channel orientation: azimuth: 12.0 for MHZ | Problem with the azimuth. |  | N
309 | NV | NC89 | MNE |  | 2009-09-17T00:00:00 | 2010-09-10T22:50:15 | Expected a value between 0.0 and 90.0 but received 102.0 | Problem with the azimuth. |  | N
315 | NV | NC89 | MNN |  | 2009-09-17T00:00:00 | 2010-09-10T22:50:15 | Invalid channel orientation: azimuth: 12.0 for MNN | Problem with the azimuth. |  | N
315 | NV | NC89 | MNZ |  | 2009-09-17T00:00:00 | 2010-09-10T22:50:15 | Invalid channel orientation: azimuth: 12.0 for MNZ | Problem with the azimuth. |  | N
309 | NV | NCBC | HHE |  | 2009-09-07T00:00:00 | 2010-09-11T01:14:00 | Expected a value between 0.0 and 90.0 but received 90.7 | Problem with the azimuth. |  | N
309 | NV | NCBC | HNE |  | 2009-09-07T00:00:00 | 2010-09-11T01:14:00 | Expected a value between 0.0 and 90.0 but received 90.7 | Problem with the azimuth. |  | N
309 | NV | NCBC | MHE |  | 2009-09-07T00:00:00 | 2010-09-11T01:14:00 | Expected a value between 0.0 and 90.0 but received 90.7 | Problem with the azimuth. |  | N
309 | NV | NCBC | MNE |  | 2009-09-07T00:00:00 | 2010-09-11T01:14:00 | Expected a value between 0.0 and 90.0 but received 90.7 | Problem with the azimuth. |  | N